## costs
Life Cycle Cost for different Technologies - Per mld, Amount in lacRs
S.No. | Assessment parameter | ASP | TF | WSP | UASB+FPU | UASB+EAS | MBBR | SBR | MBR | KT | OD
1 | Capital Cost
| Civil Works Cost | 60 | 56 | 38 | 54 | 46 | 36 | 48 | 51 | 9 | 37
| E & M Works Cost | 40 | 14 | 2 | 29 | 38 | 54 | 72 | 120 | 1 | 25
| Sub Total | 100 | 70 | 40 | 83 | 84 | 90 | 120 | 171 | 10 | 62
2 | Operation & Maintenance Costs per annum
| Annual Power Cost | 4.24 | 3.56 | 0.17 | 0.68 | 1.51 | 5.24 | 4.64 | 5.56 | 0.13 | 4.24
| Civil Works Maintenance | 0.6 | 0.56 | 0.38 | 0.54 | 0.46 | 0.36 | 0.48 | 0.51 | 0.09 | 0.37
| E & M Works Maintenance | 1.2 | 0.42 | 0.06 | 0.87 | 1.14 | 1.62 | 2.16 | 3.6 | 0.03 | 0.75
| Chemicals | 0.25 | 0.5 | 0.3 | 0.6 | 0.25 | 0.6 | 0.6 | 0 | 0 | 0.5
| Manpower Costs | 0.3 | 0.28 | 0.25 | 0.3 | 0.32 | 0.32 | 0.33 | 0.34 | 0.26 | 0.28
| Total Annual O&M costs, | 6.59 | 5.32 | 1.16 | 2.99 | 3.68 | 8.14 | 8.21 | 10.01 | 0.51 | 6.14
3 | Annual Resource Recovery
| Biogas | 0.17 | 0.17 | 0 | 0.11 | 0.11 | 0 | 0 | 0 | 0 | 0
| Sludge (Timber for KT) | 0.15 | 0.16 | 0.05 | 0.13 | 0.13 | 0 | 0.13 | 0.13 | 0.15 | 0.13
| Effluent | 0.0135 | 0.0135 | 0.0135 | 0.0135 | 0.0135 | 0.0135 | 0.0135 | 0.0135 | 0 | 0.0135
| Total | 0.3335 | 0.3435 | 0.0635 | 0.2535 | 0.2535 | 0.0135 | 0.1435 | 0.1435 | 0.15 | 0.1435
4 | Life Cycle Cost Evaluation
| Land Cost (Per Ha) | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87
| Land required, Ha/MLD | 0.2 | 0.2 | 0.8 | 0.185 | 0.125 | 0.05 | 0.03 | 0.08 | 2 | 0.22
| Cost of Land | 17.4 | 17.4 | 69.6 | 16.095 | 10.875 | 4.35 | 2.61 | 6.96 | 174 | 19.14
| Capital Cost including Land | 117.4 | 87.4 | 109.6 | 99.095 | 94.875 | 94.35 | 122.61 | 177.96 | 184 | 81.14
| Annual Costs(O&M-Resource recovery) | 6.2565 | 4.9765 | 1.0965 | 2.7365 | 3.4265 | 8.1265 | 8.0665 | 9.8665 | 0.36 | 5.9965
Capital recovery factor
From Wikipedia, the free encyclopedia
Jump to: navigation, search
A capital recovery factor is the ratio of a constant annuity to the present value of receiving that annuity for a given length of time. Using an interest rate i, the capital recovery factor is:
0.0636
where n is the number of annuities received.[1]
This is related to the annuity formula, which gives the present value in terms of the annuity, the interest rate, and the number of annuities.
If n = 1, the CRF reduces to 1+i. As n goes to infinity, the CRF goes to i.
[edit] References
1. ^ Calculator by Jenkins at University of California
Retrieved from "http://en.wikipedia.org/wiki/Capital_recovery_factor"
Capital Recovery Factor (CRF)
0.1344
4.032

## NPV
Life Cycle Cost Analysis for Different Technologies of STP | [29 empty] | Per mld, Amount in lacRs
Year | ASP |  |  | TF |  |  | WSP |  |  | UASB+FPU |  |  | UASB+EAS |  |  | MBBR |  |  | SBR |  |  | MBR |  |  | KT |  |  | OD
| Capital | O&M | Total | Capital | O&M | Total | Capital | O&M | Total | Capital | O&M | Total | Capital | O&M | Total | Capital | O&M | Total | Capital | O&M | Total | Capital | O&M | Total | Capital | O&M | Total | Capital | O&M | Total
2010 | 47.4 | 0 | 47.4 | 38.4 | 0 | 38.4 | 81.6 | 0 | 81.6 | 40.995 | 0 | 40.995 | 36.075 | 0 | 36.075 | 31.35 | 0 | 31.35 | 38.61 | 0 | 38.61 | 58.26 | 0 | 58.26 | 177 | 0 | 177 | 37.74 | 0 | 37.74
2011 | 70 | 0 | 70 | 49 | 0 | 49 | 28 | 0 | 28 | 58.1 | 0 | 58.1 | 58.8 | 0 | 58.8 | 63 | 0 | 63 | 84 | 0 | 84 | 119.7 | 0 | 119.7 | 7 | 0 | 7 | 43.4 | 0 | 43.4
2012 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2013 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2014 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2015 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2016 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2017 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2018 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2019 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2020 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2021 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2022 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2023 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2024 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2025 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2026 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2027 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2028 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2029 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2030 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2031 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2032 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2033 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2034 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2035 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2036 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2037 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2038 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2039 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2040 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
2041 | 0 | 6.2565 | 6.2565 | 0 | 4.9765 | 4.9765 | 0 | 1.0965 | 1.0965 | 0 | 2.7365 | 2.7365 | 0 | 3.4265 | 3.4265 | 0 | 8.1265 | 8.1265 | 0 | 8.0665 | 8.0665 | 0 | 9.8665 | 9.8665 | 0 | 0.36 | 0.36 | 0 | 5.9965 | 5.9965
Total | 117.4 | 187.695 | 305.095 | 87.4 | 149.295 | 236.695 | 109.6 | 32.895 | 142.495 | 99.095 | 82.095 | 181.19 | 94.875 | 102.795 | 197.67 | 94.35 | 243.795 | 338.145 | 122.61 | 241.995 | 364.605 | 177.96 | 295.995 | 473.955 | 184 | 10.8 | 194.8 | 81.14 | 179.895 | 261.035
NPV @12% | 109.9 | 44.9976 | 154.8976 | 82.15 | 35.7916 | 117.9416 | 106.6 | 7.8862 | 114.4862 | 92.87 | 19.6813 | 112.5513 | 88.575 | 24.6438 | 113.2188 | 87.6 | 58.4468 | 146.0468 | 113.61 | 58.0153 | 171.6253 | 165.135 | 70.9611 | 236.0961 | 183.25 | 2.5892 | 185.8392 | 76.49 | 43.1276 | 119.6176
| Results of the Life Cycle Cost Analysis for Different STP Technologies | [9 empty] | Per mld, Amount in lacRs
| Parameters | ASP | TF | WSP | UASB+FPU | UASB+EAS | MBBR | SBR | MBR | KT | OD
| Capital Cost | 100 | 70 | 40 | 83 | 84 | 90 | 120 | 171 | 10 | 62
| LA Cost | 17.4 | 17.4 | 69.6 | 16.095 | 10.875 | 4.35 | 2.61 | 6.96 | 174 | 19.14
| Total Capital Cost | 117.4 | 87.4 | 109.6 | 99.095 | 94.875 | 94.35 | 122.61 | 177.96 | 184 | 81.14
| Annual O&M Cost | 6.59 | 5.32 | 1.16 | 2.99 | 3.68 | 8.14 | 8.21 | 10.01 | 0.51 | 6.14
| Annual Resource Recovery | 0.3335 | 0.3435 | 0.0635 | 0.2535 | 0.2535 | 0.0135 | 0.1435 | 0.1435 | 0.15 | 0.1435
| Annual Costs(O&M-Resource recovery) | 6.2565 | 4.9765 | 1.0965 | 2.7365 | 3.4265 | 8.1265 | 8.0665 | 9.8665 | 0.36 | 5.9965
| Total Life Cycle Cost (30 Years) | 305.095 | 236.695 | 142.495 | 181.19 | 197.67 | 338.145 | 364.605 | 473.955 | 194.8 | 261.035
| Net Present Value @ 12% Discount | 154.8976 | 117.9416 | 114.4862 | 112.5513 | 113.2188 | 146.0468 | 171.6253 | 236.0961 | 185.8392 | 119.6176
| Capital Recovery Factor, CRF (12% intrest Rate & 30 years repayment period) | 0.1344 | 0.1344 | 0.1344 | 0.1344 | 0.1344 | 0.1344 | 0.1344 | 0.1344 | 0.1344 | 0.1344
| Annual Capital Investment Recovery Requirement | 15.7786 | 11.7466 | 14.7302 | 13.3184 | 12.7512 | 12.6806 | 16.4788 | 23.9178 | 24.7296 | 10.9052
| Annual O&M Recovery Requirement | 6.2565 | 4.9765 | 1.0965 | 2.7365 | 3.4265 | 8.1265 | 8.0665 | 9.8665 | 0.36 | 5.9965
| Annual Investment+ Annual O&M costs | 22.0351 | 16.7231 | 15.8267 | 16.0549 | 16.1777 | 20.8071 | 24.5453 | 33.7843 | 25.0896 | 16.9017